## Wind Solar Greenfield
Go-Wind-n-Sun EnerTechCon India Pvt. Ltd.
GoWind-n-Sun EnerTechCon India Pvt. Ltd.
Potential Wind and Solar Project Opportunities (Greenfield)
Sr. No. | Site | District | State | Proposed SS | CTU/STU | Capacity in MW | Wind Speed | Wind Mast Data | Land Status | Grid Connectivity Permit | Remarks
1 | Deulgaon/Sindkhed raja | Buldhana | Maharashtra | Deulgaon Raja 132 kV | STU | 75-100 wind | 6.6 m/s at 140 m | Available | To be secured on a lease deed and easement rights basis | For grid connectivity, 50% land should be secured or pay INR 10 Lakh per MW BG to MSETCL. However, we will ensure to get the grid connectivity for the project. | Hybrid with solar also possible | VP
2 | Thapti Tanda | Aurangabad | Maharashtra | Tapti Tanda 400 kV | STU | 150 wind | 6.3-6.8 at 140 | NIWE mast-5.9 m/s at 80 m | To be secured on a lease deed and easement rights basis | For grid connectivity, 50% land should be secured or pay INR 10 Lakh per MW BG to MSETCL. However, we will ensure to get the grid connectivity for the project. | Hybrid with solar also possible | SK
3 | Ghat Nandra | Yavatmal | Maharashtra | Dhad 132 kV | STU | 100 wind | 6.5 at 140 | Available | To be secured on a lease deed and easement rights basis | For grid connectivity, 50% land should be secured or pay INR 10 Lakh per MW BG to MSETCL. However, we will ensure to get the grid connectivity for the project. | Hybrid with solar also possible | VP
4 | Wagdari area | Solapur | Maharashtra | Wagdari 440/220 kV SS upcoming SS | STU | 100 wind | 6.5-6.8 | Wind data can be arranged | Private land identified, available on lease for 29 years | For grid connectivity, 50% land should be secured or pay INR 10 Lakh per MW BG to MSETCL. However, we will ensure to get the grid connectivity for the project. | Hybrid with solar also possible | SK
5 | Yelori - Ausa | Latur | Maharashtra | 220/132 kV Harangul STU, 400 KV | STU | 100 MW Hybrid |  | Wind data can be arranged | Private land identified, available on lease for 29 years | Distance between PSS and Site 2.5 kms and GSS to site is 11-15 km | Hybrid with solar also possible | SK
6 | Alur Achler - Umarga | Dharashiv | Maharashtra | 765 kV Chivri Pati CTU, Wagdari 400 / 220 kV | CTU. | 200+ |  | Wind data can be arranged | land identified and secured | 15-20 km | Hybrid with solar also possible | SK
7 | Ujani | Latur | Maharashtra | 132 kV Ujani, 400 KV SS planned | STU | 100 |  | Wind data can be arranged | land identified and secured | 10 km | Hybrid with solar also possible | SK
8 | Khutbav-Mhasawad | Satara | Maharashtra | Mhasawad 400 kV | STU | 200-300 wind (hybrid possible) | 6.5 to 7.0 at 140 m as per Global wind atlas | Available but NDA required | Private land identified, available on lease for 29 years | LILO option on nearby 220 kV lines. We can arrange the grid connectivity on your SPV from MSETCL | Hybrid with solar also possible. Nearby wind farms Vestas at Bothe and Regen at Agaswadi | SK
9 | Ausa | Latur | Maharashtra | Ausa 400 KV | STU | 100-150 wind |  | Wind data can be arranged | land identified and secured |  | Hybrid with solar also possible | SK
10 | Pratapgad | Pratapgad | Rajastan | Mandsour 765 KV | CTU. | 200+ wind |  | Need to buy | land identified |  | Hybrid with solar also possible | SK
11 | Various Options - wind and solar | Solapur, Beed, Dhule, Latur, Amravati, Dharashiv-Osmanabad, Yavatmal, Hingoli, Sangli. | Maharashtra | 13 New STU Substations under development by MSETCL 765, 400, 220, 132 kv Level | STU | 50 to 200 MW at various locations in Maharashtra | Can be arranged | Wind data can be arranged | We can identify and secure potential sites for wind and solar in the districts of Maharshtra | In Maharashtra, MSETCL is planning to set up 13 new EHV substations for RE projects. The anticipated timeline of completion of these substations is: Five SS - in FY 2026-27 Four SS - in FY 2027-28 Four SS - in FY 2028-29 The locations of these proposed SS are Solapur, Beed, Dhule, Latur, Amravati, Dharashiv-Osmanabad, Yavatmal, Hingoli, Sangli. For grid connectivity, 50% land should be secured or pay INR 10 Lakh per MW BG to MSETCL. | We can support your organization for getting the grid connectivity permits in advance at these substations from MEDA/MSETCL. Please let us know your interest. Liaisoning with MEDA/MSETCL/GoM can be done for any other project. | GB
12 | Kolhapur | Kolhapur | Maharashtra | 132 kV Kale | STU | 50 MW Wind | 6.8 m at 140 m | Available | Land locations partly secured | For grid connectivity, 50% land should be secured or pay INR 10 Lakh per MW BG to MSETCL. However, we will ensure to get the grid connectivity for the project. |  | GJ
13 | Indi Hybrid project | Vijayapura | KARNATAKA | 110 kV Indi SS | STU | 100 MW Hybrid | 6.7 m at 140 m | Need to buy | 150 acres solar land secured. The Solar site is about 3.5Kms from the wind site. | To be obtained. The proposed SS is feasible. We will ensure to get groid connectivity from KPTCL. |  | BP
14 | Nandurbar | Nandurbar | Maharashtra | Nandurbar 132 kV (STU), Balsane 765 kV (CTU) | STU/CTU | 100 wind | 6.7 m at 140 m | Wind data can be arranged | Tribal Land to be acquired through state govt | STU- We will ensure to get grid conectivity permit. CTU-IPP will have to manage.
15 | Paryenti | Satara | Maharashtra | Purandwade 132 kV | STU | 80 MW | 6.7 m at 140 m | Wind data can be arranged | Private land identified, available on lease for 29 years | 12 km from site to GSS | solar land of 200 acres available for hybrid project | VP
16 | Nimbarga wind - solar | Kalburgi | KARNATAKA | Nimbarga | STU | 100 MW Hybrid | 6.8 m/s at 140 | Need to buy | Solar land leased-150 acres; wind land to be acquired. | 25 MW GO / Grid connectivity available. GSS is 5 km aways | Nearby Wind project installation in progress | VP
17 | Sakri | Dhule | Maharashtra | Samode CTU (765 kV) | CTU. | 300 MW wind+solar | 6.9 m/s at 149 | Wind data can be arranged | Consent from land owners obtained, 60 year record for 40 locations is obatined, process initiated for 5 years lease. Extendable to 25 years from GoM. | IPP should apply for CTU grid connection | Suitable hybrid project | VP
18 | Khatav | Satara | Maharashtra | LILO on Lonand-Bothe Line 220 kV | STU | 100 MW Hybrid | 6.7 m at 140 m | MEDA mast | land identified and secured | For grid connectivity, 50% land should be secured or pay INR 10 Lakh per MW BG to MSETCL. However, we will ensure to get the grid connectivity for the project. |  | RN
19 | Nandur | Parner | Maharashtra | 220kV Alephata 132kV Vadzire | STU | 100 wind | Mean Wind speed - 6.26 m/s @ 80m , Mean WPD - 215W/m2 (without air density correction) | Wind Data available in a report format issued by NIWE | land identified and secured | 220kV Alephata MSETCL SS 132kV Vadzire MSETCL SS. | Suitable hybrid project | ND
20 | Ottapidaram | Tuticorin | Tamil Nadu | 230/110 kV SS | STU | 75 MW AC(Solar) & 50 MW AC(Wind) | 6.8 m at 140 m |  | Land Acquistion -WTG Land and Pathway -Based on Envinsion 3.30 MW WTG- 7 acres for WTG + 1 acre for Pathway. Solar land 250 acres purchased. | 125 MW(AC) purchased and bay allocated by GSS, 230/110/33 kV Sub-station with injection Voltage 230 kV | PPA in open access can be arranged by developer | Su
21 | Sambhaji Nagar | Sambhaji Nagar | Maharashtra | 1. 220/33 kV - 29 km and 2. 132/33 kV - 19 km away from site | STU | 100 MW wind | 6.82 m/sec at 100 m | Available but NDA required | Identified, micrositing done for 5 MW WTG. | For grid connectivity, 50% land should be secured or pay INR 10 Lakh per MW BG to MSETCL. However, we will ensure to get the grid connectivity for the project. | Suitable hybrid project
22 | Shirala | Sangli | Maharashtra | 132 Kv Bambavade Substation | STU | 100 MW wind | 7 m/s at 140 m | Wind data can be arranged | Land required for 100 MW is ready and consent agreements (isar Pavti) with the land owners is already in place. | For grid connectivity, 50% land should be secured or pay INR 10 Lakh per MW BG to MSETCL. However, we will ensure to get the grid connectivity for the project.
23 | Kottaiyur | Virudhunagar | Tamil Nadu | TANTRANSCO 765/400kV - Kottaiyur, Tuticorin Dt, Tamilnadu | STU | 250 MW Hybrid |  |  | 1000+ Acres for solar & 25+ Locations Available for WTG

## Wind with Grid and Land secured
GoWind-n-Sun EnerTechCon India Pvt. Ltd.
Shovel Ready Wind Project Options (Land and Grid connection secured)
Sr. No. | Site | District | State | Proposed SS | CTU/STU | Capacity in MW | Wind Speed | Wind Mast Data | Land Status | Grid Connectivity Permit | Remarks
1 | Koppal (Shovel Ready project) | Koppal 1 or 2 ?? | KARNATAKA | Kushtagi 220 kV | STU | 100 MW wind | 7.2 | Wind data can be arranged | Area secured, specific locations to be acquired as per micrositing | GO and Grid permit secured from GoK, KPTCL | PE on 220 kV, wind project can be expanded to 125 MW. Additional 75 MW solar project can be developed in nearby area. The Grid connectivity permit can be upgraded for 125 MW wind and 75 MW Solar | SK
2 | Mandsaur - Shovel ready wind (SPV for sale) | Mandsaur | Madhya Pradesh | 132 kV SS | STU | 100 | 6.24 m/s at 100 m | wind data available | Land locations secured | Grid permit and MPNRED permit and land secured | PPA only with Govt Discoms allowed, as it is a revenue land | SK
3 | Morbi | Morbi | Gujarat | 66 kV | STU | Hybrid- 45 wind, 40 MWp solar | 7 m/s | wind data available | Land secured | Grid connectivity obtained | Captive / Group captive / SPV for sale | Vin

## Hybrid with Land Grid
GoWind-n-Sun EnerTechCon India Pvt. Ltd.
Shovel Ready Wind-Solar Project Options (Land and Grid connection secured)
Sr. No. | Site | District | State | Proposed SS | CTU/STU | Capacity in MW | Solar Radiation / Wind Speed | PPA | Land Status | Grid Connectivity Permit | Remarks | Ask
1 | Jaisalmer | Jaisalmer | Rajastan | Ramgarh 2, Jaisalmer | 1. CTU, exact location not confirmed by CTUIL But it will be within 15 KM radius of Ramgarh-1 GSS as per CTUIL 2. Bank Guarantees (BGs): already submitted. Exact BG amount deposited - 3.5 CR, Connectivity taken on Land BG Route | 150 wind, 200 solar |  | No | 500 acres aggrgated for solar for 30 years. 15 WTG points leased. Additional land for solar and wind is in progress. | 220 kV level, 150 MW wind has been granted, and 200 MW is expected to be granted within two months by CTU | COD - DEC 2028 | Rs. 35 Lakhs Per MW + GST; excluding land expenses; SPV sale; plus Consultancy Fee will be paid separately at Rs. 5 Lakhs Per MW + GST

## Solar with Grid and Land secure
GoWind-n-Sun EnerTechCon India Pvt. Ltd.
Shovel Ready Solar Project Options (Land and Grid connection secured)
Sr. No. | Site | District | State | Proposed SS | CTU/STU | Capacity in MW | Solar Radiation | PPA | Land Status | Grid Connectivity Permit | Remarks
1 | Yadgir (Solar) | Yadgir | KARNATAKA | SS: Ramasamudra 220/110/11 KV SS | STU | 50 DC / 35 AC | 5.4 |  | 156 acres land secured. *Land Lease completed, 20% NA conversion pending | Grid connection permit Distance between PSS and Site 2.5 kms and GSS to site is 3.2 km | SPV for sale | SK
2 | Putthukotai | Putthukotai | Tamil Nadu | 230/110 kV | STU | 170-221Mwp | 5.1 to 5.5 | Developer takes the ownership of PPA with C&I consumers in TN. Expected landed tariff is above INR 3.50 | 700 acres purchased outright | Load flow study in favor of the developer. Bay Allocation done & energy ministry clearance obtained. | SPV for sale. Project is delayed. | RJ
3 | Bikaner | Bikaner | Rajastan | 300 MW Connectivity at Bikaner Substation. | CTU | 300 MW | 6 to 7 |  | Presently approx. 496 acres of land already acquired on lease which is around 5 kms away from Bikaner-1 Substation. | Connectivity, Final grant letter, CON BG, Connectivity Agreement (Cat-1) available |  | Rob
4 | Churu Solar Park | Churu | Rajastan | 220 kV, 400 MVA | STU | 200 MW |  |  | Land-625 acres (440 Acre ATL,160Acre lease), INR 27000 per year with 5% esclation | Available on 220 kV, Line length 8 km |  | Ro
5 | Ahilya Nagar - Solar | Ahilya Nagar | Maharashtra | 33 kV MSEDCL SS | STU | 25 AC solar |  |  | Land purcased by developer | Transmission line is ready | Investor is looking for PPA in Maharashtra | SK
6 | Tuticorin | Tuticorin | Tamil Nadu | 110/33–11 KV Substation | STU | 25 AC solar |  |  | Total Land Available: 75 Acres | 110 KV Grid Connectivity Approved. Transmission line distance is only 2 km.
7 | To be disclosed later |  | Gujarat | 400 kV CTU | CTU | 400 MW AC |  |  | 1800 acress land identified, 314 acres acquired on lease basis | 12 cr BG given, Connectivity zero date is 19th Nov 2026, Target date for commissioning is March 2028 | 30L/MW ask on asa is where is basis | Manoj

## Operational Solar Pro for Sale
GoWind-n-Sun EnerTechCon India Pvt. Ltd.
Operational Solar Projects for sale (SPV for sale)
Sr. No. | Site | District | State | Proposed SS | CTU/STU | Capacity in MW | Solar Radiation | COD | PPA Tariff | Land Status | Grid Connectivity Permit | Ask / Commercials | Remarks
1 | Operational Solar Project for sale |  | Tamil Nadu | 132/33 kV Nalgonda | STU | 24 MW AC |  | within 2026 | 4+ | Purchased 75 acres | Near commissioning, Rasipalayam Voltage: 110/33 kVA | 6.36 per MW | SWELET make Panels, FIMER make inverter, | vega
2 | Operational Solar Project for sale |  | Rajastan |  | STU | 15 MW AC | Annual Generation: ~25,000 MWh |  | Power Sale through Exchange (IEX / PXIL); Effective Tariff: ~₹3.70 per unit; Payment Cycle: Daily Settlement; Annual Revenue: ~₹9.20 Crore; | Total Land: 84 Acres (Freehold / Owned); Vacant Land: 25 Acres |  | 60 Cr, Facilitation Charge 5 Lakh / Mw |  | Shu
3 | Operational Solar Project - Project Capacity (Mwp) : 110 Lender Name : REC PPA Period : 25 Years Total Project Cost (Crs) : 487.59 |  | Tamil Nadu |  | STU | 110 MWp (DC) / 100 MW AC |  | 2020-02-01 | INR 3.47 with TANGEDCO | 506 acres, solar plant 416 acres purchased, vacant 90 acres | Operational - Inverter Transformer (IDT) : 24 Nos. 4.2 Mw Power Transformer Make : Crompton Greaves No. of Modules : 327420 Module Wattage Range : 335-365 & 325-330; olar Modules : Wari / Mundra (Adani) Investors Produced by : ABB Investor Capacity : 48 Nos. 2.091 MW Each Power Transformer : 2x50 Mva Each Power Transformer (Generation): Electrothermal Number of Modules : 151090 Module Wattage Range : 335•365 & 325•330 Eb Power : 10 Kv | 525 Cr and faciltation charge - 1% on transaction value |  | Shu

## Solar sites in MH
GoWind-n-Sun EnerTechCon India Pvt. Ltd.
SOLAR PROJECT DEVELOPMENT OPPORTUNITIES IN MAHARASHTRA (Greenfield)
Sr. No | Site name | District | Site Capacity | Solar/Wind | SS Capacity | SS distance | Solar/Wind | Land
1 | Rajur | Jalna | 100MW | Solar | 132/33 KV | 4.5 km | Solar | Lease
2 | Karanjalad | Wasim | 100MW | Solar | 132/33 KV | 2 km | Solar | Lease
3 | Waghola | Sambhajinagar | 150MW | Solar | 220/132/33 KV | 13.5 km | Solar | Lease
5 | Dahiwadi | Dharashiv | 150 MW | Solar | 220/132KV | 7 km (Lilo 1.5 km) | Solar | Lease
6 | Bhatkheda | Jalna | 80 MW | Solar | 220/132KV | 6 KM | Solar | Lease
7 | Dongarwadi | Sangli | 200 MW | Solar | 400/220/132 Kv | 10 KM | Solar | Lease
8 | Dholra | Jalna | 100 MW | Solar | 132/33 KV | 8 KM | Solar | Lease
8 | Nandurpingla | Amravati | 100 MW | Solar | 132/33 KV | 8 KM | Solar | Sale
10 | Vanoli | Jalgaon | 100 MW | Solar | 132/33 KV | 7 KM | Solar | Lease
11 | Birsa Munda | Chandrpur | 200 MW | Solar | 220/132KV | 2 KM | Solar | Lease
12 | Mandakhali | Parbhani | 100 MW | Solar | 132/33 KV | Lilo 3 km | Solar | Sale
13 | Kumbhargaon | Solapur | 80 MW | Solar | 132/33 KV | 6 KM | Solar | Lease
15 | Sayne | Nashik | 200 Mw | Solar | 220/132KV | 12 Km | Solar | Lease
16 | Mangrulpir | Washim | 100 MW | Solar | 132/33 KV | 4 Km | Solar | Lease
17 | Dondaichya | Dhule | 200 MW | Solar | 220/132KV | 2 KM | Solar | Sale
18 | Dahiwadi | Dharashiv | 150 MW | Solar | 220/132KV | 7 km (Lilo 1.5 km) | Solar | Lease
19 | Savada | Jalgaon | 100 MW | Solar | 132/33 KV | 8 KM | Solar | Lease
20 | Ratnapur | Chandrpur | 100 MW | Solar | 132/33 KV | 12 KM | Solar | Lease
21 | Singdazari | Chandrpur | 100 MW | Solar | 132/33 KV | 12 KM | Solar | Lease
22 | Sawali Tanda | Dhule | 400 MW | Solar | 765/400 KV | LILO 3KM | Solar | Sale
23 | Dhwalpuri | Ahilyanagar | 200 MW | Solar | 200/132KV | LILO5 Km | Solar | Sale
24 | Shindkhedraja | Buldhana | 100 MW | Hybrid | 132/33 KV | 11KM | Hybrid | Lease
25 | Ghatnandra | Yewatmal | 100 MW | Hybrid | 132/33 KV | 8 KM | Hybrid | Lease
26 | Lulle | Nashik | 100 MW | Solar | 132/33 KV | 8 KM | Solar | Sale
27 | Daregaon | Jalna | 200 MW | Solar | 220/132 KV | 4 KM | Solar | Lease
28 | Paryenti | Solapur | 100 MW | Hybrid | 132/33 KV | 17 KM | Hybrid | Lease
29 | Sayal | Nanded | 100 MW | Solar | 220/132/33 | 7 Km | Solar | Lease
30 | Kulakjai | Satara | 200 MW | Solar | 220/132 KV | 4 KM | Solar | Sale
31 | Parali | Beed | 400 MW | Hybrid | 220/132 KV | 18 KM (Lilo 2 Km) | Hybrid | Lease
32 | Kagzipura | Sambhajinagar | 100 MW | Solar | 132/33 KV | 8 KM | Solar | Lease
33 | Aarvi | Wardha | 100 MW | Solar | 132/33 KV | 10 KM | Solar | Lease
34 | Wardha | Wardha | 100 MW | Solar | 132/33 KV | 11 KM | Solar | Lease
35 | Mandav | Yewatmal | 100 MW | Solar | 132/33 KV | 11 KM (Lilo 500 Meter) | Solar | Lease/Sale
36 | Khini | Yevatmal | 100 MW | Solar | 220/132/33 | 8 KM | Solar | Lease
37 | Malegaon | Yevatmal | 100 MW | Solar | 132/33 KV | 5 Km | Solar | Lease/Sale